Asorbance of Unknown Sample

Purpose

To find an unknown concentration of a solution by plotting known concentation of the same solution vs asorbance.

Experiment

- Every student should have one test tube labeled unknown.

- Draw two columns on a sheet of paper and label PERCENT on top of column one and DATA on top of column two.

- In the Percent column WRITE 0% for test tube 1, 20% for test tube 2, 50% for test tube 3, 80 % for test tube 4 and 100% for test tube 5.

- Put the test tube 1(BLANK) into spec20.

- Make sure the absorbance reading is approximately 0.

- Put test tubes 2 through 5 into the spec20.  While one students reads (out loud)  the abs values. Another student records the abs values in the DATA column.

- Put  the last test tube labeled "ev"(UNKNOWN)  into the Spec20

Write down the asorbance reading in the data column and mark it as "x" in the percent column.

- Take the data sheets to the computer station .