## Example 1
Glucose Concentration, mM | Absorbance, A
0 | 0.002
2 | 0.15
4 | 0.294
6 | 0.434
8 | 0.57
10 | 0.704
Sy Standard Error in Y (STEYX) | 0.0055806
Number of data points (N) | 6
Number of replicates (M) | 1
Sxx | 70
y bar | 0.359
Unknown Absorbance = | 0.35
Slope = | 0.070143
Intercept = | 0.0082857
Unknown concentration =
(A - b)/m = (0.35 - 0.0083)/0.0701 | 4.8745
Standard error of c | 0.085943
calibration sensitivity = slope = | 0.070143
detection limit
Sm = Sbl+ksbl | 0.002
Mean blank signal (Sbl) | 0.002
Number of blank signals (k) | 1
Standard deviation of blank signal (sbl) | 0
detection limit (Cm = Sm -Sbl/m) | 0
dynamic range | 0-10.0
(linear region of calibration curve)